## Slide 1
Lung Cancer Detection using Convolutional Neural Networks
Deep Learning Based Medical Image Classification
Ayush Deep

## Slide 2
Problem Statement
Challenge
Large volume of CT scan images requiring expert analysis
Manual Limitations
Time-consuming analysis with potential for human error
Objective
Automatically classify CT scans as cancerous or non-cancerous using CNN

## Slide 3
Dataset & Preprocessing
01
Raw CT Images
Original scan data collection
02
Image Resizing
Standardize dimensions (224×224)
03
Normalization
Scale pixel values (0-1)
04
Data Augmentation
Rotation, flip, zoom variations
05
Model Input
Prepared tensor format
Dataset Size
1000 total CT scan images
Training Set
613 images
Validation Set
72 images
Test Set
315 images

## Slide 4
CNN Model Architecture
Conv 64
MaxPool
ReLU
Conv 32
Input

## Slide 5
Model Training Configuration
Framework
TensorFlow / Keras
Loss Function
Binary Cross Entropy
Optimizer
Adam
Epochs
20 training iterations
Batch Size
32 images per batch
Metrics
Accuracy, Precision, Recall
Dataset
Training Loop
Backpropagation
Trained Model

## Slide 6
System Workflow & Architecture
Image Upload
User submits CT scan
Preprocessing
Resize, normalize, validate
CNN Prediction
Model inference
Dashboard
Display results
Backend Stack
Python 3.11
TensorFlow 2.12
NumPy / Pillow
Frontend Interface
Streamlit framework
Web-based UI
Real-time predictions

## Slide 7
Results & Evaluation Metrics
93.8%
Accuracy
Overall correct predictions
83.1%
Precision
Proportion of true positives
93.2%
Recall
Cancer detection rate
0.88
F1 Score
Balanced metric
Evaluation Method: Confusion matrix analysis on test set. Metrics calculated using scikit-learn implementation.

## Slide 8
Conclusion & Future Work
Conclusion
Feature Extraction
CNN effectively learns discriminative features from CT images
Clinical Assistance
Model supports early detection of lung cancer
Usable Interface
Streamlit dashboard enables simple model interaction
Future Improvements
Larger Datasets
Expand to [X]+ annotated scans
Transfer Learning
Implement ResNet, VGG, or Inception architectures
Explainability
Integrate Grad-CAM for visual explanations
Hospital Integration
PACS system compatibility